CITY OF BETHLEHEM

Department of Community and Economic Development 			Interoffice Memo

TO:		William J. Reynolds, City Council President

FROM:	Darlene L. Heller, Director of Planning and Zoning

RE:		Zoning Amendments to Address Floodplain Provisions

At the May 8, 2014 Planning Commission meeting, the Commission unanimously recommended approval of proposed Floodplain amendments in the Zoning Ordinance.  The draft amendments are attached.

Please place these amendments on an upcoming meeting agenda as required for final approval.

Please let me know if you need any additional information prior to the meeting.

CC:	City Council members		M. Dorner

Mayor Donchez			Atty. Leeson

- Karner				T. Samuelson

S. Borzak				J. Spirk

DATE:

Darlene L. Heller, AICP

Director of Planning and Zoning

CITY OF BETHLEHEM

Department of Community and Economic Development 			Interoffice Memo

To:	Planning Commission

From:	Darlene Heller, AICP Director of Planning & Zoning

Re:	Zoning Ordinance Amendment / Floodplain Provisions

On December 20, 2012, City Council adopted Ordinance 2012-45, the City of Bethlehem Floodplain Ordinance, incorporated into the Zoning Ordinance under Article 1317.

The Federal Emergency Management Agency (FEMA) is finalizing the update of the Flood Insurance Study (FIS) and Flood Insurance Rate Map (FIRM) for Northampton County. Based on these updates, our current Floodplain Ordinance needs to be updated in accordance with FEMA’s newly adopted guidelines.

Below is a synopsis of the proposed amendment changes:

SECTION 1317.05.F,	Duties and Responsibilities of the Floodplain Administrator. All records must be retained.  The words, “in perpetuity” were added as required by FEMA.

SECTION 1317.06.C.4, A section was deleted that required documentation, certified by a registered professional engineer or architect, to show that the cumulative affect of any proposed development within the floodplain when combined with all other existing and anticipated development does not increase the base flood elevation. This information is already required for the flood way.

SECTION 1317.10, Start of Construction. The time frame from start of construction to completion of construction been changed from five years to one (1) year in accordance with FEMA regulations.

SECTION 1317.13, Identification of Floodplain Areas. The maps originally were “draft” maps. The maps have now been finalized with a new effective date. Accordingly, this Section was changed to reflect the date of the final maps prepared by FEMA.

SECTION 1317.18.B, Technical Provisions. This section outlines the steps the City must take if the City proposes to permit encroachments to the floodplain.

SECTION 1317.23 and 24, Special Requirements. Since manufactured homes and recreational vehicles are not permitted a “no variance may be granted” has been added.

SECTION 1317.25, Prohibited Activities. This section is added to note that hospitals, nursing homes and jails or prisons are not permitted in any identified floodplain area.

SECTION 1317.30, Definitions. This section was modified to add definitions as required by FEMA’s latest regulations. The definitions for manufactured home, manufactured home park or subdivision, structure and substantial damage were added to this chapter.

Several section numbers were revised throughout the document for consistency.

This item is placed on your May 8 agenda for review and consideration. The Planning Commission makes a recommendation on all Zoning Ordinance amendments. These recommendations are forwarded to City Council for final approval.

DATE:

Darlene L. Heller, AICP

Director of Planning and Zoning

CC:		M. Kloiber

S. Borzak

T. Samuelson

M. Dorner

A. Karner

ORDINANCE NO. –_________

BILL NO. _________

AN ORDINANCE AMENDING ARTICLE 1317, FLOODWAY AND FLOODFRINGE DISTRICTS, OF THE ZONING ORDINANCE REQUIRING PERMITS FOR ANY CONSTRUCTION OR DEVELOPMENT IN DESIGNATED FLOOD AREAS; PROVIDING FOR THE ISSUANCE OF SUCH PERMITS; SETTING FORTH CERTAIN MINIMUM REQUIREMENTS FOR NEW CONSTRUCTION AND DEVELOPMENT WITHIN AREAS OF THE CITY OF BETHLEHEM WHICH ARE SUBJECT TO FLOODING; AND ESTABLISHING PENALTIES FOR ANY PERSONS WHO FAIL, OR REFUSE TO COMPLY WITH, THE REQUIREMENTS OR PROVISIONS OF THIS ORDINANCE.

# SECTION 1.	STATUTORY AUTHORIZATION

The Legislature of the Commonwealth of Pennsylvania has, by the passage of the Pennsylvania Flood Plain Management Act of 1978, delegated the responsibility to local governmental units to adopt floodplain management regulations to promote public health, safety, and the general welfare of its citizenry.  Therefore, the City Council of the City of Bethlehem does hereby order as follows.

# SECTION 2.	General Provisions

That current Section 1317 of the City of Bethlehem Zoning Ordinance is hereby replaced in its entirety with new Section 1317 of the City of Bethlehem Zoning Ordinance to read as follows:

## Intent

The intent of this Ordinance is to:

- Promote the general health, welfare, and safety of the community.

- Encourage the utilization of appropriate construction practices in order to prevent or minimize flood damage in the future.

- Minimize danger to public health by protecting water supply and natural drainage.

- Reduce financial burdens imposed on the community, its governmental units, and its residents, by preventing excessive development in areas subject to flooding.

- Comply with federal and state floodplain management requirements.

## Applicability

- It shall be unlawful for any person, partnership, business or corporation to undertake, or cause to be undertaken, any construction or development anywhere within the City of Bethlehem unless a Permit has been obtained.

- A Permit shall not be required for minor repairs (as defined in Section 1317.30.A.15 of this Ordinance) to existing buildings or structures.

## Warning and Disclaimer of Liability

The degree of flood protection sought by the provisions of this Ordinance is considered reasonable for regulatory purposes and is based on accepted engineering methods of study.  Larger floods may occur or flood heights may be increased by man-made or natural causes, such as ice jams and bridge openings restricted by debris.  This Ordinance does not imply that areas outside any identified floodplain areas, or that land uses permitted within such areas will be free from flooding or flood damages.

This Ordinance shall not create liability on the part of the City of Bethlehem or any officer or employee thereof for any flood damages that result from reliance on this Ordinance or any administrative decision lawfully made thereunder.

## Designation of the Floodplain Administrator

The Zoning Officer is hereby appointed to administer and enforce this ordinance and is referred to herein as the Floodplain Administrator.  The Floodplain Administrator may: (A) Fulfill the duties and responsibilities set forth in these regulations, (B) Delegate duties and responsibilities set forth in these regulations to qualified technical personnel, plan examiners, inspectors, and other employees, or (C) Enter into a written agreement or written contract with another agency or private sector entity to administer specific provisions of these regulations. Administration of any part of these regulations by another entity shall not relieve the community of its responsibilities pursuant to the participation requirements of the National Flood Insurance Program as set forth in the Code of Federal Regulations at 44 C.F.R. Section 59.22.

## Duties and Responsibilities of the Floodplain Administrator

- The Floodplain Administrator shall issue a Permit only after it has been determined that the proposed work to be undertaken will be in conformance with the requirements of this and all other applicable codes and ordinances.

- Prior to the issuance of any permit, the Floodplain Administrator shall review the application for the permit to determine if all other necessary government permits required by state and federal laws have been obtained, such as those required by the Pennsylvania Sewage Facilities Act (Act 1966-537, as amended); the Pennsylvania Dam Safety and Encroachments Act (Act 1978-325, as amended); the Pennsylvania Clean Streams Act (Act 1937-394, as amended); and the U.S. Clean Water Act, Section 404, 33, U.S.C. 1344.  No permit shall be issued until this determination has been made.

- During the construction period, the Floodplain Administrator or other authorized official shall inspect the premises to determine that the work is progressing in compliance with the information provided on the permit application and with all applicable municipal laws and ordinances.  He/she shall make as many inspections during and upon completion of the work as are necessary.

- In the discharge of his/her duties, the Floodplain Administrator shall have the authority to enter any building, structure, premises or development in the identified floodplain area, upon presentation of proper credentials, at any reasonable hour to enforce the provisions of this ordinance.

- In the event the Floodplain Administrator discovers that the work does not comply with the permit application or any applicable laws and ordinances, or that there has been a false statement or misrepresentation by any applicant, the Floodplain Administrator shall revoke the Permit and report such fact to the Zoning Hearing Board for whatever action it considers necessary.

- The Floodplain Administrator shall maintain in perpetuity all records associated with the requirements of this ordinance including, but not limited to, finished construction elevation data, permitting, inspection and enforcement.

- The Floodplain Administrator is the official responsible for submitting a biennial report to the FEMA concerning community participation in the National Flood Insurance Program.

- The responsibility, authority and means to implement the commitments of the Floodplain Administrator can be delegated from the person identified.  However, the ultimate responsibility lies with the person identified in the floodplain ordinance as the floodplain administrator/manager.

- The Floodplain Administrator shall consider the requirements of the 34 PA Code and the 2009 IBC and the 2009 IRC or latest revisions thereof.

## Application Procedures and Requirements

- Application for such a Permit shall be made, in writing, to the Bureau of Code Enforcement on the standard City of Bethlehem Bureau of Code Enforcement Application for Permit.

- If any proposed construction or development is located entirely or partially within any identified floodplain area, applicants for Permits shall also provide all the necessary information in sufficient detail and clarity to enable the Code Enforcement Bureau and Engineering Bureau to determine that:

- all such proposals are consistent with the need to minimize flood damage and conform with the requirements of this and all other applicable codes and ordinances;

- all utilities and facilities, such as sewer, gas, electrical and water systems are located and constructed to minimize or eliminate flood damage;

- adequate drainage is provided so as to reduce exposure to flood hazards;

- structures will be anchored to prevent floatation, collapse, or lateral movement;

- building materials are flood-resistant;

- appropriate practices that minimize flood damage have been used; and

- electrical, heating, ventilation, plumbing, air conditioning equipment, and other service facilities have been designed and located to prevent water entry or accumulation.

- Applicants shall file the following minimum information plus any other pertinent information as may be required by the Bureau of Code Enforcement to make the above determination:

  - A completed Permit Application Form.

  - A plan of the entire site, clearly and legibly drawn at a scale of one (1) inch being equal to one hundred (100) feet or less, showing the following:

    - north arrow, scale, and date;

    - topographic contour lines;

    - the location of all existing and proposed buildings, structures, and other improvements, including the location of any existing or proposed subdivision and development;

    - the location of all existing streets, drives, and other access ways; and

    - the location of any existing bodies of water or watercourses, identified floodplain areas, and, if available, information pertaining to the floodway, and the flow of water including direction and velocities.

  - Plans of all proposed buildings, structures and other improvements, drawn at suitable scale showing the following:

    - the proposed lowest floor elevation of any proposed building based upon North American Vertical Datum of 1988;

    - the elevation of the base flood;

    - supplemental information as may be necessary under 34 PA Code, the 2009 IBC or the 2009 IRC.

  - The following data and documentation:

    - if available, information concerning flood depths, pressures, velocities, impact and uplift forces and other factors associated with a base flood; and

    - detailed information concerning any proposed floodproofing measures and corresponding elevations.

    - documentation, certified by a registered professional engineer or architect, to show that the cumulative effect of any proposed development within an AE Area/District with floodway (See section 1317.14 A) when combined with all other existing and anticipated development, will not increase the base flood elevation at any point.

    - a document, certified by a registered professional engineer or architect, which states that the proposed construction or development has been adequately designed to withstand the pressures, velocities, impact and uplift forces associated with the base flood.

Such statement shall include a description of the type and extent of flood proofing measures which have been incorporated into the design of the structure and/or the development.

    - detailed information needed to determine compliance with Section 1317.20 F., Storage, and Section 1317.21, Development Which May Endanger Human Life, including:

      - the amount, location and purpose of any materials or substances referred to in Sections 1317.20 F. and 1317.21 which are intended to be used, produced, stored or otherwise maintained on site.

      - a description of the safeguards incorporated into the design of the proposed structure to prevent leaks or spills of the dangerous materials or substances listed in Section 1317.21 during a base flood.

    - the appropriate component of the Department of Environmental Protection's "Planning Module for Land Development."

    - where any excavation or grading is proposed, a plan meeting the requirements of the Department of Environmental Protection, to implement and maintain erosion and sedimentation control.

- Applications for Permits shall be accompanied by a fee, payable to the municipality based upon the estimated cost of the proposed construction as determined by the current fee schedule at the Bureau of Code Enforcement.

## Review of Application by Others

A copy of all plans and applications for any proposed construction or development in any identified floodplain area to be considered for approval may be submitted by the Floodplain Administrator to any other appropriate agencies and/or individuals (e.g. planning commission, municipal engineer, etc.) for review and comment.

## Changes

After the issuance of a Permit by the Bureau of Code Enforcement, no changes of any kind shall be made to the application, permit or any of the plans, specifications or other documents submitted with the application without the written consent or approval of the Bureau of Code Enforcement.  Requests for any such change shall be in writing, and shall be submitted by the applicant to Bureau of Code Enforcement for consideration.

## Placards

In addition to the Permit, the Bureau of Code Enforcement shall issue a placard which shall be displayed on the premises during the time construction is in progress.  This placard shall show the number of the Permit, the date of its issuance, and be signed by the Bureau.

## Start of Construction

Work on the proposed construction or development shall begin within 180 days after the date of issuance and shall be completed within twelve (12) months after the date of issuance of the Permit or the permit shall expire unless a time extension is granted, in writing, by the Bureau of Code Enforcement. The actual start of construction means either the first placement of permanent construction of a structure on a site, such as the pouring of slab or footings, the installation of piles, the construction of columns, or any work beyond the stage of excavation; or the placement of a manufacture home on a foundation.  Permanent construction does not include land preparation, such as clearing, grading, and filling; nor does it include the installation of streets and/or walkways; nor does it include excavation for a basement, footings, piers, or foundations or the erection of temporary forms; nor does it include the installation on the property of accessory buildings, such as garages or sheds not occupied as dwelling units or not part of the main structure.  For a substantial improvement, the actual start of construction means the first, alteration of any wall, ceiling, floor, or other structural part of a building, whether or not that alteration affects the external dimensions of the building.

Time extensions shall be granted only if a written request is submitted by the applicant, which sets forth sufficient and reasonable cause for the Bureau of Code Enforcement to approve such a request.

## Enforcement

A.	Notices

The provisions of Article 1324 of this Zoning Ordinance shall govern and apply to any person or entity who fails to comply with any or all of the requirements or provisions of this Article.

B.	Penalties

Any person who fails to comply with any or all of the requirements or provisions of this Article shall be liable if convicted of all of the penalties and procedures described in Article 1324 of this Zoning Ordinance.

## Appeals

- Any person aggrieved by any action or decision of the Floodplain Administrator concerning the administration of the provisions of this Article 1317, may appeal to the Zoning Hearing Board as described in Article 1325 of this Ordinance. Such appeal must be filed, in writing, within thirty (30) days after the decision, determination or action of the Zoning Officer of Building Official.

## Identification of Floodplain Areas

The identified floodplain area shall be:

### any areas of the City of Bethlehem, classified as Special Flood Hazard Areas (SFHAs) in the Flood Insurance Study (FIS) and the accompanying Flood Insurance Rate Maps (FIRMs) dated July 16, 2014 and issued by the Federal Emergency Management Agency (FEMA) or the most recent revision thereof, including all digital data developed as part of the Flood Insurance Study.  The above referenced FIS and FIRMs, and any subsequent revisions and amendments are hereby adopted by the City of Bethlehem and declared to be a part of this ordinance.

## Description and Special Requirements of Identified Floodplain Areas

The identified floodplain area shall consist of the following specific areas:

- The Floodway Area/District identified as floodway in the FIS which represents the channel of a watercourse and the adjacent land areas that must be reserved in order to discharge the base flood without cumulatively increasing the water surface elevation by more than one (1) foot at any point. This term shall also include floodway areas which have been identified in other available studies or sources of information for those Special Flood Hazard Areas where no floodway has been identified in the FIS.

- Within any floodway area, no encroachments, including fill, new construction, substantial improvements, or other development shall not be permitted unless it has been demonstrated through hydrologic and hydraulic analysis performed in accordance with standard engineering practice that the proposed encroachment would not result in any increase in flood levels within the community during the occurrence of the base flood discharge.

- No new construction or development shall be allowed, unless a permit is obtained from the Department of Environmental Protection Regional Office.

- The AE Area/District shall be those areas identified as an AE Zone on the FIRM included in the FIS prepared by FEMA for which base flood elevations have been provided.

  - The AE Area adjacent to the floodway shall be those areas identified as an AE Zone on the FIRM included in the FIS prepared by FEMA for which base flood elevations have been provided and a floodway has been delineated.

- The A Area/District shall be those areas identified as an A Zone on the FIRM included in the FIS prepared by FEMA and for which no one-percent (1%) annual chance flood elevations have been provided.  For these areas, elevation and floodway information from other Federal, State, or other acceptable sources shall be used when available.  Where other acceptable information is not available, the base flood elevation shall be determined by using the elevation of a point on the boundary of the identified floodplain area which is nearest the construction site.

In lieu of the above, the municipality may require the applicant to determine the elevation with hydrologic and hydraulic engineering techniques.  Hydrologic and hydraulic analyses shall be undertaken only by professional engineers or others of demonstrated qualifications, who shall certify that the technical methods used correctly reflect currently accepted technical concepts.  Studies, analyses, computations, etc., shall be submitted in sufficient detail to allow a thorough technical review by the municipality.

## Changes in Identification of Area

The Identified Floodplain Area may be revised or modified by the City of Bethlehem Planning Commission following review, input and recommendation by the City Engineering Bureau where studies or information provided by a qualified agency or person documents the need for such revision.  However, prior to any such change to the Special Flood Hazard Area, approval must be obtained from FEMA.  Additionally, as soon as practicable, but not later than six (6) months after the date such information becomes available, a community shall notify FEMA of the changes to the Special Flood Hazard Area by submitting technical or scientific data. See 1317.18 (B) for situations where FEMA notification is required.

## Boundary Disputes

Should a dispute concerning any identified floodplain boundary arise, an initial determination shall be made by the City of Bethlehem Planning Commission. The burden of proof shall be on the appellant.

## Jurisdictional Boundary Changes

## Prior to development occurring in areas where annexation or other corporate boundary changes are proposed or have occurred, the community shall review flood hazard data affecting the lands subject to boundary changes.  The community shall adopt and enforce floodplain regulations in areas subject to annexation or corporate boundary changes which meet or exceed those in CFR 44 60.

## TECHNICAL PROVISIONS - General

- Alteration or Relocation of Watercourse

  - No encroachment, alteration, or improvement of any kind shall be made to any watercourse until all adjacent municipalities which may be affected by such action have been notified by the municipality, and until all required permits or approvals have first been obtained from the Department of Environmental Protection Regional Office.

  - No encroachment, alteration, or improvement of any kind shall be made to any watercourse unless it can be shown that the activity will not reduce or impede the flood carrying capacity of the watercourse in any way.

  - In addition, FEMA and the Pennsylvania Department of Community and Economic Development, shall be notified prior to any alteration or relocation of any watercourse.

- When a community proposes to permit the following encroachments:

- any development that causes a rise in the base flood elevations within the floodway; or

- any development occurring in Zones A1-30 and Zone AE without a designated floodway, which will cause a rise of more than one foot in the base flood elevation; or

- alteration or relocation of a stream (including but not limited to installing culverts and bridges)

the applicant shall (as per 44 CFR Part 65.12):

  - apply to FEMA for conditional approval of such action prior to permitting the encroachments to occur.

  - Upon receipt of the Administrator’s conditional approval of map change and prior to approving the proposed encroachments, a community shall provide evidence to FEMA of the adoption of floodplain management ordinances incorporating the increased base flood elevations and / or revised floodway reflecting the post-project condition.

  - Upon completion of the proposed encroachments, a community shall provide as-built certifications. FEMA will initiate a final map revision upon receipt of such certifications in accordance with 44 CFR Part 67.

- Any new construction, development, uses or activities allowed within any identified floodplain area shall be undertaken in strict compliance with the provisions contained in this Ordinance and any other applicable codes, ordinances and regulations.

- Within any Identified Floodplain Area (See Section 1317.14), no new construction or development shall be located within the area measured fifty (50) feet landward from the top-of-bank of any watercourse, unless a permit is obtained from the Department of Environmental Protection Regional Office.

## Elevation and Floodproofing Requirements

- Residential Structures

  - In AE, A1-30, and AH Zones, any new construction or substantial improvement shall have the lowest floor (including basement) elevated up to, or above, the regulatory flood elevation.

  - In A Zones, where there are no Base Flood Elevations specified on the FIRM, any new construction or substantial improvement shall have the lowest floor (including basement) elevated up to, or above, the regulatory flood elevation determined in accordance with Section 1317.14.C of this ordinance.

  - The design and construction standards and specifications contained in the 2009 International Building Code (IBC) and in the 2009 International Residential Code (IRC) or the most recent revisions thereof and ASCE 24 and 34 PA Code (Chapters 401-405 as amended) shall be utilized.

- Non-residential Structures

  - In AE, A1-30 and AH Zones, any new construction or substantial improvement of a non-residential structure shall have the lowest floor (including basement) elevated up to, or above, the regulatory flood elevation, or be designed and constructed so that the space enclosed below the regulatory flood elevation:

    - is floodproofed so that the structure is watertight with walls substantially impermeable to the passage of water and,

    - has structural components with the capability of resisting hydrostatic and hydrodynamic loads and effects of buoyancy:

  - In A Zones, where no Base Flood Elevations are specified on the FIRM, any new construction or substantial improvement shall have the lowest floor (including basement) elevated or completely floodproofed up to, or above, the regulatory flood elevation determined in accordance with Section 1317.14.C of this ordinance.

  - Any non-residential structure, or part thereof, made watertight below the regulatory flood elevation shall be floodproofed in accordance with the WI or W2 space classification standards contained in the publication entitled "Flood-Proofing Regulations" published by the U.S. Army Corps of Engineers (June 1972, as amended March 1992) or with some other equivalent standard.  All plans and specifications for such floodproofing shall be accompanied by a statement certified by a registered professional engineer or architect which states that the proposed design and methods of construction are in conformance with the above referenced standards.

  - The design and construction standards and specifications contained in the 2009 International Building Code (IBC) and in the 2009 International Residential Code (IRC) or the most recent revisions thereof and ASCE 24 and 34 PA Code (Chapters 401-405 as amended) shall be utilized.

- Space below the lowest floor

  - Fully enclosed space below the lowest floor (excluding basements) which will be used solely for the parking of a vehicle, building access, or incidental storage in an area other than a basement, shall be designed and constructed to allow for the automatic entry and exit of flood waters for the purpose of equalizing hydrostatic forces on exterior walls.  The term "fully enclosed space" also includes crawl spaces.

  - Designs for meeting this requirement must either be certified by a registered professional engineer or architect, or meet or exceed the following minimum criteria:

    - a minimum of two openings having a net total area of not less than one (1) square inch for every square foot of enclosed space.

    - the bottom of all openings shall be no higher than one (1) foot above grade.

    - openings may be equipped with screens, louvers, or other coverings or devices provided that they permit the automatic entry and exit of floodwaters.

- Historic Structures

Historic structures undergoing repair or rehabilitation that would constitute a substantial improvement as defined in this ordinance, must comply with all ordinance requirements that do not preclude the structure’s continued designation as a historic structure. Documentation that a specific ordinance requirement will cause removal of the structure from the National Register of Historic Places or the State Inventory of Historic places must be obtained from the Secretary of the Interior or the State Historic Preservation Officer. Any exemption from ordinance requirements will be the minimum necessary to preserve the historic character and design of the structure.

- Accessory structures

Structures accessory to a principal building need not be elevated or floodproofed to remain dry, but shall comply, at a minimum, with the following requirements:

- the structure shall not be designed or used for human habitation, but shall be limited to the parking of vehicles, or to the storage of tools, material, and equipment related to the principal use or activity.

- floor area shall not exceed 200 square feet.

- The structure will have a low damage potential.

- the structure will be located on the site so as to cause the least obstruction to the flow of flood waters.

- power lines, wiring, and outlets will be elevated to the regulatory flood elevation.

- permanently affixed utility equipment and appliances such as furnaces, heaters, washers, dryers, etc. are prohibited.

- sanitary facilities are prohibited.

- the structure shall be adequately anchored to prevent flotation or movement and shall be designed to automatically provide for the entry and exit of floodwater for the purpose of equalizing hydrostatic forces on the walls.  Designs for meeting this requirement must either be certified by a registered professional engineer or architect, or meet or exceed the following minimum criteria:

  - a minimum of two openings having a net total area of not less than one (1) square inch for every square foot of enclosed space.

  - the bottom of all openings shall be no higher than one (1) foot above grade.

  - openings may be equipped with screens, louvers, etc. or other coverings or devices provided that they permit the automatic entry and exit of flood waters.

## Design and Construction Standards

The following minimum standards shall apply for all construction and development proposed within any identified floodplain area:

- Fill - If fill is used, it shall:

- extend laterally at least fifteen (15) feet beyond the building line from all points;

- consist of soil or small rock materials only - Sanitary Landfills shall not be permitted;

- be compacted to provide the necessary permeability and resistance to erosion, scouring, or settling;

- be no steeper than one (1) vertical to two (2) horizontal feet unless substantiated data justifying steeper slopes are submitted to, and approved by the Floodplain Administrator; and

- be used to the extent to which it does not adversely affect adjacent properties.

- Drainage Facilities

Storm drainage facilities shall be designed to convey the flow of storm water runoff in a safe and efficient manner.  The system shall ensure proper drainage along streets, and provide positive drainage away from buildings.  The system shall also be designed to prevent the discharge of excess runoff onto adjacent properties.

- Water and Sanitary Sewer Facilities and Systems

  - All new or replacement water supply and sanitary sewer facilities and systems shall be located, designed and constructed to minimize or eliminate flood damages and the infiltration of flood waters.

  - Sanitary sewer facilities and systems shall be designed to prevent the discharge of untreated sewage into flood waters.

  - No part of any on-site sewage system shall be located within any identified floodplain area except in strict compliance with all State and local regulations for such systems.  If any such system is permitted, it shall be located so as to avoid impairment to it, or contamination from it, during a flood.

  - The design and construction provisions of the UCC and FEMA #348, “Protecting Building Utilities From Flood Damages” and “The International Private Sewage Disposal Code” shall be utilized.

- Other Utilities

All other utilities such as gas lines, electrical and telephone systems shall be located, elevated (where possible) and constructed to minimize the chance of impairment during a flood.

- Streets

The finished elevation of all new streets shall be no more than one (1) foot below the Regulatory Flood Elevation.

- Storage

All materials that are buoyant, flammable, explosive, or in times of flooding, could be injurious to human, animal, or plant life, and not listed in Section 1317.21, Development Which May Endanger Human Life, shall be stored at or above the Regulatory Flood Elevation or flood proofed to the maximum extent possible.

- Placement of Buildings and Structures

All buildings and structures shall be designed, located, and constructed so as to offer the minimum obstruction to the flow of water and shall be designed to have a minimum effect upon the flow and height of flood water.

- Anchoring

  - All buildings and structures shall be firmly anchored in accordance with accepted engineering practices to prevent flotation, collapse, or lateral movement.

  - All air ducts, large pipes, storage tanks, and other similar objects or components located below the regulatory flood elevation shall be securely anchored or affixed to prevent flotation.

- Floors, Walls and Ceilings

  - Wood flooring used at or below the Regulatory Flood Elevation shall be installed to accommodate a lateral expansion of the flooring, perpendicular to the flooring grain without causing structural damage to the building.

  - Plywood used at or below the regulatory flood elevation shall be of a "marine” or "water-resistant" variety.

  - Walls and ceilings at or below the regulatory flood elevation shall be designed and constructed of materials that are "water-resistant" and will withstand inundation.

  - Windows, doors, and other components at or below the regulatory flood elevation shall be made of metal or other "water-resistant" material.

- Paints and Adhesives

  - Paints and other finishes used at or below the regulatory flood elevation shall be of "marine" or "water-resistant" quality.

  - Adhesives used at or below the regulatory flood elevation shall be of a "marine" or "water-resistant" variety.

  - All wooden components (doors, trim, cabinets, etc.) used at or below the regulatory flood elevation shall be finished with a "marine" or "water-resistant" paint or other finishing material.

- Electrical Components

  - Electrical distribution panels shall be at least three (3) feet above the base flood elevation.

  - Separate electrical circuits shall serve lower levels and shall be dropped from above.

- Equipment

Water heaters, furnaces, air conditioning and ventilating units, and other electrical, mechanical or utility equipment or apparatus shall not be located below the Regulatory Flood Elevation.

- Fuel Supply Systems

All gas and oil supply systems shall be designed to prevent the infiltration of flood waters into the system and discharges from the system into flood waters.  Additional provisions shall be made for the drainage of these systems in the event that flood water infiltration occurs.

- Uniform Construction Code Coordination

The Standards and Specifications contained  in 34 PA Code (Chapters 401-405), as amended and not limited to the following provisions shall apply to the above and other sections and sub-sections of this ordinance, to the extent that they are more restrictive and supplement the requirements of this ordinance.

International Building Code (IBC) 2009 or the latest edition thereof:

Secs. 801, 1202, 1403, 1603, 1605, 1612, 3402, and Appendix G.

International Residential Building Code (IRC) 2009 or the latest edition thereof:

Secs. R104, R105, R109, R323, Appendix AE101, Appendix E and Appendix J.

## Development Which May Endanger Human Life

- In accordance with the Pennsylvania Flood Plain Management Act, and the regulations adopted by the Department of Community and Economic Development as required by the Act, any new or substantially improved structure which:

  - will be used for the production or storage of any of the following dangerous materials or substances; or,

  - will be used for any activity requiring the maintenance of a supply of more than 550 gallons, or other comparable volume, of any of the following dangerous materials or substances on the premises; or,

  - will involve the production, storage, or use of any amount of radioactive substances;

shall be subject to the provisions of this section, in addition to all other applicable provisions.  The following list of materials and substances are considered dangerous to human life:

  - Acetone

  - Ammonia

  - Benzene

  - Calcium carbide

  - Carbon disulfide

  - Celluloid

  - Chlorine

  - Hydrochloric acid

  - Hydrocyanic acid

  - Magnesium

  - Nitric acid and oxides of nitrogen

  - Petroleum products (gasoline, fuel oil, etc.)

  - Phosphorus

  - Potassium

  - Sodium

  - Sulphur and sulphur products

  - Pesticides (including insecticides, fungicides, and rodenticides)

  - Radioactive substances, insofar as such substances are not otherwise regulated.

- Within any Floodway Area, any structure of the kind described in Subsection A., above, shall be prohibited.

- Within any Identified Floodplain Area, any new or substantially improved structure of the kind described in Subsection A., above, shall be prohibited within the area measured fifty (50) feet landward from the top-of-bank of any watercourse.

- Where permitted within any Identified Floodplain Area, any new or substantially improved residential structure of the kind described in Article 1317.21(A), above, shall be elevated to remain completely dry up to at least one and one half (1 ½) feet above base flood elevation.

- Where permitted within any Identified Floodplain Area, any new or substantially improved non-residential structure of the kind described in Section 1317.21(A), above, shall be:

  - elevated, or designed and constructed to remain completely dry up to at least one and one half (1 ½) feet above base flood elevation, and

  - designed to prevent pollution from the structure or activity during the course of a base flood.

Any such structure, or part thereof, that will be built below the regulatory flood elevation shall be designed and constructed in accordance with the standards for completely dry floodproofing contained in the publication "Flood-Proofing Regulations (U.S. Army Corps of Engineers, June 1972 as amended March 1992), or with some other equivalent watertight standard.

## Special Requirements for Subdivisions

All subdivision proposals and development proposals containing at least 50 lots or at least 5 acres, whichever is the lesser, in Identified Floodplain Areas where base flood elevation data are not available, shall be supported by hydrologic and hydraulic engineering analyses that determine base flood elevations and floodway information.  The analyses shall be prepared by a licensed professional engineer in a format required by FEMA for a Conditional Letter of Map Revision or Letter of Map Revision.  Submittal requirements and processing fees shall be the responsibility of the applicant.

## Special Requirements for Manufactured Homes

- Within any Identified Floodplain Area manufactured homes shall be prohibited. No variance shall be granted.

## Special Requirements for Recreational Vehicles

- Within any Identified Floodplain Area recreational vehicles shall be prohibited. No variance shall be granted.

## Section 1317.25  	Prohibited Activities

In accordance with the administrative regulations promulgated by the Department of Community and Economic Development to implement the Pennsylvania Flood Plain Management Act, the following activities shall be prohibited within any Identified Floodplain Area:

- The commencement of any of the following activities; or the construction, enlargement, or expansion of any structure used, or intended to be used, for any of the following activities:

  - Hospitals

  - Nursing homes

  - Jails or prisons

- The commencement of, or any construction of, a new manufactured home park or manufactured home subdivision, or substantial improvement to an existing manufactured home park or manufactured home subdivision.

## Section 1317.26	Existing Structures In Identified Floodplain Areas

The provisions of this Ordinance do not require any changes or improvements to be made to lawfully existing structures.  However, when an improvement is made to any existing structure, the provisions of Section 1317.27 shall apply.

## Section 1317.27     	Improvements

The following provisions shall apply whenever any improvement is made to an existing structure located within any Identified Floodplain Area:

- No expansion or enlargement of an existing structure shall be allowed within any Floodway Area/District that would cause any increase in BFE.

- Any modification, alteration, reconstruction, or improvement of any kind to an existing structure to an extent or amount of fifty (50) percent or more of its market value, shall constitute a substantial improvement and shall be undertaken only in full compliance with the provisions of this Ordinance.

- The above activity shall also address the requirements of the 34 PA Code, as amended and the 2009 IBC and the 2009 IRC.

## Section 1317.28 Variances - General

If compliance with any of the requirements of this Ordinance would result in an exceptional hardship to a prospective builder, developer or landowner, the City of Bethlehem Zoning Hearing Board may, upon request, grant relief from the strict application of the requirements pursuant to the provisions of Article 1325 of this Zoning Ordinance.

## Section 1317.29 Variance Procedures and Conditions

Requests for variances shall be considered in accordance with the procedures contained in Article 1325 and the following:

- No variance shall be granted for any construction, development, use, or activity within any Floodway Area/District that would cause any increase in the BFE.

- Except for a possible modification of the regulatory flood elevation requirement involved, no variance shall be granted for any of the other requirements pertaining specifically to Development Which May Endanger Human Life (Article 1317.21).

- If granted, a variance shall involve only the least modification necessary to provide relief.

- In granting any variance, whatever reasonable conditions and safeguards that are considered  necessary shall be attached in order to protect the public health, safety, and welfare, and to achieve the objectives of this Ordinance.

- Whenever a variance is granted, the applicant shall be notified in writing that:

  - The granting of the variance may result in increased premium rates for flood insurance.

  - Such variances may increase the risks to life and property.

- In reviewing any request for a variance, in addition to any other sections of this Zoning Ordinance that apply, the following shall be considered, at a minimum:

  - That there is good and sufficient cause.

  - That failure to grant the variance would result in exceptional hardship to the applicant.

  - That the granting of the variance will

    - neither result in an unacceptable or prohibited increase in flood heights, additional threats to public safety, or extraordinary public expense,

    - nor create nuisances, cause fraud on, or victimize the public, or conflict with any other applicable state or local ordinances and regulations.

- A complete record of all variance requests and related actions shall be maintained by the Zoning Officer. In addition, a report of all variances granted during the year shall be included in the annual report to the FEMA.

Notwithstanding any of the above, however, all structures shall be designed and constructed so as to have the capability of resisting the one-percent (1%) annual chance flood.

## Section 1317.30  Definitions

Unless specifically defined below, all other pertinent phrases and definitions are included in Article 1302 of this ordinance, and are hereby incorporated herein by reference thereto.

## A.  Additional Definitions

- Base flood - a flood which has a one percent chance of being equaled or exceeded in any given year (also called the "100-year flood" or one-percent (1%) annual chance flood).

- Base flood discharge - the volume of water resulting from a Base Flood as it passes a given location within a given time, usually expressed in cubic feet per second (cfs).

- Base flood elevation (BFE) - the elevation shown on the Flood Insurance Rate Map (FIRM) for Zones AE, AH, A1-30 that indicates the water surface elevation resulting from a flood that has a 1-percent or greater chance of being equaled or exceeded in any given year.

- Development - any man-made change to improved or unimproved real estate, including but not limited to the construction, reconstruction, renovation, repair, expansion, or alteration of buildings or other structures; the placement of manufactured homes; streets, and other paving; utilities; filling, grading and excavation; mining; dredging; drilling operations; storage of equipment or materials; and the subdivision of land.

- Existing manufactured home park or subdivision – a manufactured home park or subdivision for which the construction of facilities for servicing the lots on which the manufactured homes are to be affixed (including, at a minimum, the installation of utilities, the construction of streets, and either final site grading or the pouring of concrete pads) is completed before the effective date of the floodplain management regulations adopted by a community.

- Expansion to an existing manufactured home park or subdivision – the preparation of additional sites by the construction of facilities for servicing the lots on which the manufactured homes are to be affixed (including the installation of utilities, the construction of streets, and either final site grading or the pouring of concrete pads).

- Flood Insurance Rate Map (FIRM) - the official map on which the Federal Emergency Management Agency has delineated both the areas of special flood hazards and the risk premium zones applicable to the community.

- Flood Insurance Study (FIS) - the official report provided by the Federal Emergency Management Agency that includes flood profiles, the Flood Insurance Rate Map, the Flood Boundary and Floodway Map, and the water surface elevation of the base flood.

- Floodplain area - a relatively flat or low land area which is subject to partial or complete inundation from an adjoining or nearby stream, river or watercourse; and/or any area subject to the unusual and rapid accumulation of surface waters from any source.

- Floodproofing - any combination of structural and nonstructural additions, changes, or adjustments to structures which reduce or eliminate flood damage to real estate or improved real property, water and sanitary facilities, structures and their contents.

- Floodway - the channel of a river or other watercourse and the adjacent land areas that must be reserved in order to discharge the base flood without cumulatively increasing the water surface elevation more than one foot.

- Lowest floor - the lowest floor of the lowest fully enclosed area (including basement).  An unfinished, flood resistant partially enclosed area, used solely for parking of vehicles, building access, and incidental storage, in an area other than a basement area is not considered the lowest floor of a building, provided that such space is not designed and built so that the structure is in violation of the applicable non-elevation design requirements of this ordinance.

- Manufactured home - a structure, transportable in one or more sections, which is built on a permanent chassis, and is designed for use with or without a permanent foundation when attached to the required utilities.  The term includes park trailers, travel trailers, recreational and other similar vehicles which are placed on a site for more than 180 consecutive days.

- Manufactured home park or subdivision – a parcel (or contiguous parcels) of land divided into two or more manufactured home lots for rent or sale.

- Minor repair - the replacement of existing work with equivalent materials for the purpose of its routine maintenance and upkeep, but not including the cutting away of any wall, partition or portion thereof, the removal or cutting of any structural beam or bearing support, or the removal or change of any required means of egress, or rearrangement of parts of a structure affecting the exitway requirements; nor shall minor repairs include addition to, alteration of, replacement or relocation of any standpipe, water supply, sewer, drainage, drain leader, gas, oil, waste, vent, or similar piping, electric wiring, mechanical or other work affecting public health or general safety.

- New construction - structures for which the start of construction commenced on or after the effective date of this ordinance and includes any subsequent improvements to such structures.  Any construction started after July 3, 1978 and before the effective date of this ordinance is subject to the ordinance in effect at the time the permit was issued, provided the start of construction was within 180 days of permit issuance.

- New manufactured home park or subdivision – a manufactured home park or subdivision for which the construction of facilities for servicing the lots on which the manufactured homes are to be affixed (including at a minimum, the installation of utilities, the construction of streets, and either final site grading or the pouring of concrete pads) is completed on or after the effective date of floodplain management regulations adopted by a community.

- Post-FIRM Structure - is a structure for which construction or substantial improvement occurred after December 31, 1974 or on or after the community’s initial Flood Insurance Rate Map (FIRM) dated July 3, 1978, whichever is later, and, as such, would be required to be compliant with the regulations of the National Flood Insurance Program.

- Pre-FIRM Structure - is a structure for which construction or substantial improvement occurred on or before December 31, 1974 or before the community’s initial Flood Insurance Rate Map (FIRM) dated July 3, 1978, whichever is later, and, as such, would not be required to be compliant with the regulations of the National Flood Insurance Program.

- Regulatory flood elevation - the base flood elevation (BFE) or estimated flood height as determined using simplified methods plus a freeboard safety factor of one and one-half (1 ½) feet.

- Repetitive loss – flood related damages sustained by a structure on two separate occasions during a 10-year period for which the cost of repairs at the time of each such flood event, on average, equals or exceeds 25 percent of the market value of the structure before the damages occurred.

- Special flood hazard area (SFHA) - means an area in the floodplain subject to a 1 percent or greater chance of flooding in any given year.  It is shown on the FIRM as Zone A, AO, A1-A30, AE, A99, or, AH.

- Start of construction - includes substantial improvement and other proposed new development and means the date the Permit was issued, provided the actual start of construction, repair, reconstruction, rehabilitation, addition, placement, or other improvement was within 180 days after the date of the permit and shall be completed within five (5) years after the date of issuance of the permit unless a time extension is granted, in writing, by the Floodplain Administrator.  The actual start means either the first placement of permanent construction of a structure on a site, such as the pouring of slab or footings, the installation of piles, the construction of columns, or any work beyond the stage of excavation; or the placement of a manufactured home on a foundation.  Permanent construction does not include land preparation, such as clearing, grading, and filling; nor does it include the installation of streets and walkways; nor does it include excavation for a basement, footings, piers, or foundations or the erection of temporary forms; nor does it include the installation on the property of accessory buildings, such as garages or sheds not occupied as dwelling units or not part of the main structure.  For a substantial improvement, the actual start of construction means the first alteration of any wall, ceiling, floor, or other structural part of a building, whether or not that alteration affects the external dimensions of the building.

- Structure – a walled and roofed building, including a gas or liquid storage tank that is principally above ground, as well as a manufactured home.

- Substantial damage - damage from any cause sustained by a structure whereby the cost of restoring the structure to its before-damaged condition would equal or exceed fifty (50) percent or more of the market value of the structure before the damage occurred.

- Substantial improvement - any reconstruction, rehabilitation, addition, or other improvement of a structure, of which the cost equals or exceeds fifty (50) percent of the market value of the structure before the "start of construction" of the improvement.  This term includes structures which have incurred "substantial damage” regardless of the actual repair work performed.  The term does not, however, include any project for improvement of a structure to correct existing violations of state or local health, sanitary, or safety code specifications which have been identified by the local code enforcement official and which are the minimum necessary to assure safe living conditions.

- Uniform Construction Code (UCC) – The statewide building code adopted by The Pennsylvania General Assembly in 1999 applicable to new construction in all municipalities whether administered by the municipality, a third party or the Department of Labor and Industry. Applicable to residential and commercial buildings, The Code adopted The International Residential Code (IRC) and the International Building Code (IBC), by reference, as the construction standard applicable with the State floodplain construction.  For coordination purposes, references to the above are made specifically to various sections of the IRC and the IBC.

- Violation - means the failure of a structure or other development to be fully compliant with the community's floodplain management regulations. A structure or other development without the elevation certificate, other certifications, or other evidence of compliance required in 44 CFR §60.3(b)(5), (c)(4), (c)(10), (d)(3), (e)(2), (e)(4), or (e)(5) is presumed to be in violation until such time as that documentation is provided.

SECTION 3.	Severability

If any section, subsection, paragraph, sentence, clause, or phrase of this Ordinance shall be declared invalid for any reason whatsoever, such a decision shall not affect the remaining portions of the Ordinance, which shall remain in full force and effect, and for this purpose the provisions of this Ordinance are hereby declared to be severable.

SECTION 4. All Ordinances and parts of Ordinances inconsistent herewith be, and the same are hereby repealed.

Sponsored by  ___________________________

____________________________

PASSED finally in Council on the _____ day of _______________, 2014.

_____________________________

President of Council

ATTEST:

____________________________

City Clerk

This Ordinance approved this  _____ day of _______________, 2014.

_____________________________

Mayor